Trinity Tots Nursery

Fire Safety Policy

UNCRC Articles: 1, 2, 3, 12, 24

HSCS: 5.17

At Trinity Tots Nursery we take reasonable steps to ensure the safety of children, staff and others on the nursery premises in the case of a fire or other emergency, through our fire safety policy and emergency evacuation procedures.

The manager/designated fire marshal is Kerilee Doran.

We ensure the nursery premises are compliant with fire safety regulations, including following any major changes or alterations to the premises. The manager/designated fire marshal ensures we have the appropriate fire detection equipment in working order (e.g. fire alarms, smoke detectors, fire blankets and/or fire extinguishers) and seeks advice from the local fire safety officer as necessary.

They also have overall responsibility for the fire drill and emergency procedures. These are carried out and recorded for each group of children every month, or as and when a significant change occurs, such as a large intake of children or a new member of staff joins the nursery. These drills are planned to occur at different times of the day and on different days of the week to ensure evacuations are possible under a variety of circumstances. All children and staff participate in fire drills.

All staff receive fire safety and evacuation training (as part of their induction) to help them understand their roles and responsibilities. This includes the steps they must take to ensure the safety of children, for example keeping fire doors free from obstruction, how to evacuate the children safely and where the evacuation meeting point is situated. Each room has a specific evacuation plan, which includes information such as evacuating non-mobile babies and using alternative exits, depending on where the fire may be located.

The manager/designated fire marshal checks fire detection, control equipment and fire exits in line with the timescales detailed in the checklist overleaf.

Fire checklist

|  | Who checks | How often | Location |
| --- | --- | --- | --- |
| Escape route/fire exits (all fire exits must be clearly identifiable) | Kerilee Doran | Daily | Main Entrance, Back Entrance, Bumblebee’s room, Caterpillar’s room, main Butterflies room |
| Fire extinguishers and blankets | Forth Fire Protection | Yearly | CO2 extinguisher – outside kitchen Fire blanket – In kitchen Fire extinguisher water – Cloakroom and Foyer |
| Smoke/heat and fire alarms | Kerilee Doran | Fire | Outside kitchen The hall Boiler cupboard Bumblebee Room |
| Fire doors closed and in good repair doors free of obstruction and easily opened from the inside | Kerilee Doran | Daily | The front door and the kitchen door are fire doors |

A deputy fire marshal is appointed to oversee this role when the fire marshal is absent.

Registration

An accurate record of all staff and children present in the building must be kept at all times and children and staff must be marked in and out on arrival and departure. An accurate record of visitors is kept in the visitor’s book. These records are taken out along with the register and emergency contacts list in the event of a fire.

No smoking/vaping policy

The nursery operates a strict no smoking/vaping policy – please see this separate policy for details.

Fire drill procedure

On discovering a fire:

- Calmly raise the alarm

- Immediately evacuate the building under guidance from the manager or most senior member of staff, collecting the room register on the way.

- Using the nearest accessible exit lead the children out, assemble at the lockup.  If the manager deems this unsafe staff and children will assemble outside the Edinburgh Tabernacle

- Close all doors and windows behind you wherever possible

- Senior staff to assist Bumblebee’s in carrying out non-ambulant children

- Do not stop to collect personal belongings on evacuating the building

- Do not attempt to go back in and fight the fire

- Do not attempt to go back in if any children or adults are not accounted for

- Wait for emergency services and report any unaccounted persons to the fire service and/or police.

If you are unable to evacuate safely:

- Stay where you are safe

- Keep the children calm and together

- Wherever possible alert the manager to your location and inform them of the identity of the children and other adults with you.

The manager is to:

- Pick up the central children’s register, staff register, mobile phone, keys, visitor book and fire bag/evacuation pack (containing emergency contacts list, nappies, wipes and blankets)

- Telephone emergency services: dial 999 and ask for the fire service

- In the fire assembly point area, either outside the lock-up or at The Edinburgh Tabernacle, check the children against the register

- Account for all adults: staff and visitors

- Advise the fire service of anyone missing and possible locations and respond to any other questions they may have.

Clear instructions for the fire drills will be displayed near all the exits.

Remember

•	Do not stop to collect personal belongings on evacuating the building

•	Do not attempt to go back in and fight the fire

•	Do not attempt to go back in if any children or adults are not accounted for.

| This policy was last reviewed | Signed on behalf of the nursery | Date for review |
| --- | --- | --- |
| 6th March 2026 |  | March 2027 |